## Slide 1: 3D Objects Imaging using HD Scanner
Daniel Fan and Samuel Loho
Project #114
Supervisor: Dr. Waleed Abdulla
Second Examiner: Dr. Catherine Watson

## Slide 2: Outline
Motivation
Background
Structured Light Scanner
Objectives
Our Approach
Results
Future Work
Conclusions

## Slide 3: Motivation
Technology advancements over the last decade
Limitation on 2D data analysis
Research interest
Making tasks easier – engineers lazy

## Slide 4: Background
3D Scanner Types
Theory
Applications

## Slide 5: Background – 3D Scanner Types
Types of 3D scanner based on their methods:
  Contact
  Non-contact:
    Active
    Passive

## Slide 6: Background – 3D Scanner Types
Contact
  Utilise a probe to scan the surface of an object directly
  Advantage:
    Precise reconstruction of the object
  Disadvantages:
    Dependency on the material of the object
    Limitation on the size of the scanned object
    Processing time

## Slide 7: Background – 3D Scanner Types
Non-Contact
  Also known as optical scanner
  Differentiated from the control of illumination source
    Active: emission of radiation or light and detect the reflection from the object.
      Laser: time of flight, phase shift scanner
      Light: structured light
    Passive: rely on the reflected ambient radiation
      Stereoscopic imaging
      Photogrammetric imaging

## Slide 8: Background - Theory
3D Photography
Triangulation

## Slide 9: Background - Theory
  Camera System: Pin-hole Model
  Image plane ∏ denotes the sampled discrete photosensing locations of 3D world scene onto the plane; and are the physical dimensions of a single tile (pixels)
  together with , , and determine the camera coordinate system
  together with , , and determine the external coordinate system
p25

## Slide 10: Background - Theory
  Projection in the direction of determines the principal point of local coordinates ()
  Point p is the image point P, 3D space location, depends on the coordinates systems: camera , external
  Since optical axis is perpendicular to the plane ∏, and are similar:

## Slide 11: Background - Theory
  Pin-hole camera model defined by:
    Extrinsic parameters
      , , T = - =
    Intrinsic parameters
      ,

## Slide 12: Background - Theory
Stereoscopic Systems
  Creates Epipolar Geometry, based on two pin-hole camera models
  Similar parameters as pin-hole model
  Additional camera plane allows intersection with the base line to create epipolar points which then create epipolar plane by 3D point P
  Intersection of planes creates epipolar lines which determine the exact space position in 3D space
p32

## Slide 13: Background - Theory
Triangulation
p325

## Slide 14: Background – Applications
Medical and Forensic science
  Prosthetics, plaster cast moulds, dental implants
  Analysis on physical samples – Geology
  Captures forensic evidence
Manufacturing
  Design, Prototyping, CAM, Quality Control
  Reparation or recreation of undocumented parts
Image courtesy of: 3shape, Farofocus3D, Handiscan3D
Image courtesy of: NextEngine

## Slide 15: Background – Applications
Entertainment
  CGI – visually accurate 3D models
  Gaming – Nintendo 3DS, Microsoft Kinect
Biometrics
  3D fingerprints, face recognition
Cultural Heritage
  Catalogue, preservation of artefacts
Image courtesy of Flashscan3d and the University of York
Image courtesy of: Konica Minolta, Microsoft™ and Nintendo™

## Slide 16: Adapted System
3D3Solutions’ Flexscan3d
Structured Light scanner
  Types of Structured Light scanners
    B/W Binary Pattern (include comparison with graycode/binary)
    RGB pattern
    Colour stripe pattern
  Stereo Analysis

## Slide 17: Adapted System – Objectives
Explore the 3D3Solutions’ Flexscan3d Scanner
  Setup
  Quality of image
  Limitations
Devising a method of obtaining 3D data without the used of the Flexscan3d software.

## Slide 18: Approach – Flexscan system
Setup:
  The scanner system was setup and calibrated in the IE room.
  A black background was used to provide clear contrast for the image
  Scanning conditions such as distance to the scanner, and the amount of ambient light (lights on or off) are explored.

## Slide 19: Approach – Flexscan system
Focus only on the 3D object
Black Box = Flexscan software which acquires the 3D data.
2D Images from the scanner
3D Mesh/Cloud Points
Black Box

## Slide 20: Quality of image

## Slide 21: Limitations
The following objects can not be scanned:
  Highly reflective objects
  Dark coloured objects
  Objects with a rough surface (scatters light)
For more complex objects, meshing becomes a increasingly difficult task

## Slide 22: Simplified Algorithm
Same scanner setup was used
Images from the scanners were processed using Matlab
System parameters
  Assumptions and simplifications made.
Notes: In the method that we devised, many assumptions and simplifications were made to the system parameters.

## Slide 23: Quality of Image
Lesser quality than original system
  Expected.
  Missing information due to pixel-stripe generalisation.
  Object still recognisable
  Fails with more complicated objects
Notes: In the method that we devised, many assumptions and simplifications were made to the system parameters.

## Slide 24: Limitation s
Similar to the Flexscan system
Notes: In the method that we devised, many assumptions and simplifications were made to the system parameters.

## Slide 25: Results
Flexscan system

## Slide 26: Results
Simplified system

## Slide 27: Results - Comparison
Comparison with .obj from flexscan (show points?)

## Slide 28: Future Work
Refinement and development of the simplified data acquisition model – improve 3D model quality
Improvement on the efficiency of the model – reduce time for data acquisition

## Slide 29: Conclusions
High quality image obtained from the Flexscan system
Simplified model yields images of a satisfactory calibre
Further refinement of simplified model may yield results of higher resolution and detail.

## Slide 30: Questions